**Bio-Rad GelDoc XR+ Optional Printing Instructions**

**If you are printing your gel, you must invert the colors so there is more white than black!**

**See previous sheet for instructions on how to invert your image**

1. Save Image as a .tif in the appropriate Gel-Doc Users folder in **My Documents**. *NOTE: to keep this folder organized please save in class or research adviser folders.*
   1. File 🡪 **Export 🡪 Export for Publication**
   2. In **Export for Publication** window, leave settings at default and click **Export…**
2. Open the folder containing the image(s) you want to print by double clicking the **Gel Doc Users** shortcut on the desktop and navigating to your folder.

**Option A – To** **print** **the same image multiple times**:

* 1. Right click the image you want to print
  2. Click **Print**
  3. A print pictures window will appear (see option A image below)
  4. Under **Printers:** Select the printer you want to print to (TH223 or TH257)
  5. Scroll down to select the 3.5 X 5 in (4 images per page) or Wallet (9 images per page) option.
  6. Under **Copies of each picture:** choose how many copies you’d like to print (if you want 4 of the same image you need to type in 4).
  7. Click **Print**

**Option B – To print multiple images on the same page:**

1. Hold the **Ctrl** key on your keyboard and select the image(s) you want to print
2. Right click on one of the selected images
3. Click **Print**
4. A print pictures window will appear (see option B image below)
5. Under **Printers:** Select the printer you want to print to (TH223 or TH257)
6. Scroll down to select the 3.5 X 5 in (4 images per page) or Wallet (9 images per page) option.
7. Under **Copies of each picture:** select 1 (unless you actually want copies of the multiple images).
8. Click **Print**

**Option B:** Print multiple images on the same page:

**Option A:** Print the same image multiple times:

